LIGHTING SYSTEM CHARACTERISTICS

| Describe in detail, include typical ceiling plans. Utilize space function format. |  |
| --- | --- |
| • | Typical W/ft2 • Operating schedules |
| • | Design of controls • Operating and maintenance problems |
| • | Typical W/ft2 installed, by type of light source |
| • | Light levels, footcandles, 3 feet above floor, without daylight |
| • | % of lamps not functioning |

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________