| CMGT 235 – Electrical and Mechanical Systems |  |  |
| --- | --- | --- |
| Discussion No. 12 | Unit 2 - Plumbing Systems | Fall 2022 |

Sanitary Drainage and Venting

Sanitary Drainage Pipes

| Soil Pipe (Soil Stack) A soil pipe is designed to carry soiled water from the toilet, urinal or bidet to the sewer. | Waste Pipe (Waste Stack) A waste pipe carries water from your sinks, shower, washing machine or bath. |
| --- | --- |

DWV Terminology

The Drain, Waste, and Venting (DWV) System provides for the collection of sanitary soil (solid particles) and waste (fluids) within a building, and the discharge of those products outside the building to a municipal sewer system or to a septic system.

2016 California Plumbing Code

Chapter 7 Sanitary Drainage

Drainage Fixture Unit (DFU)

Measure of the probable discharge of wastewater and waterborne waste into the drainage system.

1 drainage fixture unit (DFU) = 7 ½ gallons per min (gpm)

2"

2"

1 ½ "

11.0

3.0

3.0

1.0

2.0

2.0

3"

3"

3"

3"

1 ½ "

1 ½ "

1 ½ "

1 ¼ "

1 ½ "

2"

2"

| Fixture | # of Fix. | Minimum Trap Size and Trap Arm (inches) | DFU |  |
| --- | --- | --- | --- | --- |
|  |  |  | EACH | THIS JOB |
| BT | 1 | 1 ½ | 2.0 | 2.0 |
| LAV | 1 | 1 ¼ | 1.0 | 1.0 |
| WC FT | 1 | 3.0 | 3.0 | 3.0 |
| KS | 1 | 1 ½ | 2.0 | 2.0 |
| CW | 1 | 2 | 3.0 | 3.0 |
| TOTALS |  |  |  | 11.0 |

2016 California Plumbing Code

Chapter 9 Vents