CMGT 235 – Electrical and Mechanical Systems

Department of Construction Management  California State University, Chico

Homework #13 – Plumbing Systems

Points: 20

Due:	10/6/2022

Name: ____________________________________________________________________________________

Use the 2016 CPC – Table 702.1

- Calculate the Total DFUs for the home used in homework #10. The home uses the city’s sewer line.

| Fixture | Number of Fixtures | DFU | Total (DFU) |
| --- | --- | --- | --- |
| Water Closet | 5 |  |  |
| LAV | 7 |  |  |
| Tub/Shower | 3 |  |  |
| Tub | 1 |  |  |
| Shower | 1 |  |  |
| Kitchen Sink | 1 |  |  |
| Dishwasher | 2 |  |  |
| Laundry Machine | 1 |  |  |
| Laundry Sink | 1 |  |  |
| Total |  |  |  |

- Complete the Table shown:

| Fixture | Minimum Size Trap and Trap Arm (Inches) |
| --- | --- |
| Water Closet |  |
| LAV |  |
| Tub/Shower |  |
| Tub |  |
| Shower |  |
| Kitchen Sink |  |
| Dishwasher |  |
| Laundry Machine |  |
| Laundry Sink |  |

- Using the isometric paper provided sketch the isometric drawing for the piping diagram shown from the south elevation.