**CMGT 235 – Electrical and Mechanical Systems**

Department of Construction Management 🏵 California State University, Chico

Exam #2 [100 points]

**You may work together as a group or individually. Every student SHALL complete their own answer sheet.**

All problems refer to the California Plumbing Code 2016 [Unless Noted Otherwise]

Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 30 pts10 pts6 pts6 pts8 pts10 pts10 pts6 pts4 pts2 pts2 pts2 pts2 pts2 pts | 1. Determine the Meter and Street Service size and the Building Supply size for the Dwelling shown on the next page. MDSSPA = 80 psi. The highest water outlet in the building is 9 feet above the source of supply. Pressure loss due to the meter is 5 psi and the water softener has a pressure loss of 9 psi. The maximum length of the piping between the source of supply and the furthest fixture is 208 feet. Each side of the house has a ½" hose bibb (TWO HBs PER SUPPLY SEGMENT).

**Step 1.** Calculate the Available Water Pressure**Step 2.** Find the Effective Maximum Developed Length (DL) of Pipe**Step 3**. Calculate the total WSFU [Table 610.3]

|  |  |  |  |
| --- | --- | --- | --- |
| **QTY** | **FIXTURE** | **WSFU** | **TOTAL WSFU** |
|  | WC |  |  |
|  | LAV |  |  |
|  | BT |  |  |
|  | SHW |  |  |
|  | KS |  |  |
|  | DW |  |  |
|  | BS |  |  |
|  | SS |  |  |
|  | LS |  |  |
|  | CW |  |  |
|  | HB |  |  |
| **TOTAL WSFU** |  |

**Step 4.** Use the 2016 CPC Table 610.4 complete the table below for your results:

|  |  |
| --- | --- |
| **Pressure Range** |  |
| **Maximum Allowable Length** |  |
| **Distribution Piping** | **Pipe Size (inches)** |
| Meter and Street Service |  |
| Building Supply |  |

Diagram, engineering drawing  Description automatically generated1. A local restaurant has an occupancy of 250 people.
	1. Using the CPC 2016 complete the table for the required number of fixtures per person.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Water Closets | Urinals | Lavatories | Bathtubs or Showers | Drinking Fountains |
| Male | Female | Male | Male | Female |  |  |
|  |  |  |  |  |

* 1. Where is the CPC 2016 did you find the requirements?
	2. What other fixtures are required?
1. The cold-water piping for a public female restroom is shown below. The water closets have flushometer valves.
	1. What table is applicable to determining the WSFUs?
	2. Determine the total WSFU for the cold-water load.

WCWCWCWCWCWCWCWCLAVLAVLAVLAV1. For a public rest room what are the required ADA requirements for:
	1. Water closet height
	2. Water closet flush control
2. Determine the total DFU for the 8 public flushometer toilets and 6 lavatories. What size vent is required for the total DFU and what is the maximum length the vent can be?

1. For the basic home shown complete the Hot, Cold, and Combines WSFU table shown below.

|  |
| --- |
| Water Supply Fixture Units |
| Fixture | # of Fix. | HOT WSFU | COLD WSFU | TOTAL WSFU |
| EACH | THIS JOB | EACH | THIS JOB | EACH | THIS JOB |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
| TOTALS |  |  |  |  |  |  |  |

TOTAL GPM \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_1. Determine the total DFU for the private residence shown.

1. The problem of accommodating thermal expansion of piping is particularly important for hot water and steam piping. Amount of expansion depends on:
2. Type of piping used
3. Temperature change

Linear expansion of a pipe is given by the equation: ∆L = C x L x ∆TWhere,C = Expansion CoefficientL = length of pipe∆T = temperature differentialExpansion Coefficients (C)

|  |  |
| --- | --- |
| **Material** | 10-6 in/in °F |
| Aluminum | 12.8 |
| Steel | 6.5 |
| Cast Iron | 5.9 |
| Copper | 9.3 |
| Stainless Steel | 9.9 |
| ABS Acrylonitrile butadiene styrene | 35.0 |
| HDPE High density polyethylene | 67.0 |
| PE Polyethylene | 83.0 |
| CPVC Chlorinated polyvinyl chloride | 44.0 |
| PVC Polyvinyl chloride | 28.0 |

In a school building the distance between the hot water boiler and the cafeteria dishwasher is 175 ft. What is the increase in length of the hot water piping from a “resting” condition (shutdown) of 55⁰F to an operating condition carrying 140⁰F water using(a) copper pipe?(b) CPVC plastic pipe?1. Determine the horizontal and vertical drainage pipe size for 5,000 square feet of roof area (1/8” slope per 12” of pipe) on a building located in Dallas, TX.
2. For a 4-inch horizontal storm drain, what is the maximum projected roof area if the slope of the drain is ¼-inch per 1 ft of pipe? What table is used to find the answer?
3. Determine the number of 5” roof drains required for a roof area of 230,000 sq. ft located in Denver, Colorado.
4. What is BMP an acronym for? \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_
5. What federal act was passed in 1972 to regulate the discharge of pollutants to receiving waters such as oceans, bays, rivers, and lakes?
6. What is a system that conveys both sewage and stormwater to sewage treatment plants before the treated effluent is discharged to receiving water bodies called?
 |