CMGT 235 – Electrical and Mechanical Systems

Homework #25 – Size OCP and Conductor for a Continuous Load

Due: 11/17/2022

Points: 20

Name: _______________________________________________________________________________

Note: Size the overcurrent device in accordance with NEC 215.3 and 240.6(A). Select the conductor to comply with NEC 215.2 AND Table 310-15(B) 16 (75°C) SHOW ALL CALCULATIONS

- What size feeder overcurrent protection device and conductor (CU, THHN) are required for a 9.0 KW load on a 120/240V panelboard (75°C terminals) using 120 V single phase voltage?

- What size feeder overcurrent protection device and conductor (CU, THHN) are required for a 9.0 KW load on a 120/240V panelboard (75°C terminals) using 240 V single phase voltage?

- What size feeder overcurrent protection device and conductor (CU, THHN) are required for a 9.0 KW load on a 277/480V panelboard (75°C terminals) using 277 V three phase voltage?

- What size feeder overcurrent protection device and conductor (CU, THHN) are required for a 9.0 KW load on a 277/480V panelboard (75°C terminals) using 480 V three phase voltage?