## Power Terms - FEEDERS
ACCUBID OFFICE BUILDING
WIRE POWER TERMS - FEEDERS (One Line Diagram)
EQUIPMENT | MDB | TVSS | PNL HB1 | PNL H1 | PNL L1 | PNL HT | PNL LT | TL1 | TLT
#18
#16
#14
#12
#10
# 8
# 6
# 4
# 3
# 2
# 1
#1/0
#2/0
#3/0
#4/0
#250
#300
#350
#400
#500
#600
#750
#1000
#1250
#1500
#1750
#2000

## Power Terms - FEEDERS wCount
ACCUBID OFFICE BUILDING
WIRE POWER TERMS - FEEDERS (One Line Diagram)
EQUIPMENT | MDB | TVSS | PNL HB1 | PNL H1 | PNL L1 | PNL HT | PNL LT | TL1 | TLT
#18
#16
#14
#12
#10
# 8 | 1 |  | 1 | 1 |  | 1 |  | 1 | 1
# 6 | 3 | [5 empty] | 1 | 1 | 2
# 4 | 3 |  |  |  | 1 | 4 |  | 1 | 3
# 3 | 5 |  | 4 | 1
# 2 | 5 | 5 | [5 empty] | 3
# 1 | 9 |  |  | 3
#1/0 | [6 empty] | 4 |  | 4
#2/0 | 1
#3/0
#4/0 | 12 |  |  |  | 4 | 4 |  | 4
#250
#300
#350
#400
#500 | 4
#600 | 12
#750
#1000
#1250
#1500
#1750
#2000

## Power Terms-Branch Ckts-Motor
ACCUBID OFFICE BUILDING
WIRE POWER TERMS - BRANCH CIRCUITS AND MOTORS (Panel Schedule and Motor Schedule)
PNL HB1
PNL H1
ACCUBID OFFICE BUILDING
WIRE POWER TERMS - BRANCH CIRCUITS AND MOTORS (Panel Schedule and Motor Schedule)
PNL L1
PNL HT (H2, H3, & H4)
ACCUBID OFFICE BUILDING
WIRE POWER TERMS - BRANCH CIRCUITS AND MOTORS (Panel Schedule and Motor Schedule)
PNL LT
Maximum Number of Conductors in a ½" EMT Conduit = (9) #12
NEC Annex C, Table C.1
H
H
H
N
H
H
H
N
G
1
3
5
2
4
6