LEED for Neighborhood Development Power Jam Study

Quiz #4 – Green Infrastructure and Buildings (GIB)

- How many certified green buildings are required for a LEED ND project?

- All buildings must be LEED-certified

- None

- One

- One for every five buildings within the project site boundary

- Projects using GIB Prerequisite Minimum Building Energy Performance, Option 1. Whole-Building Energy Simulation must use which of these standards to calculate baseline building performance?

- ASHRAE 62.1-2010

- ASHRAE 55-2010

- ASHRARE 90.1-2010

- ASHRAE 90.1-2010, Appendix G

- Which of these fixtures are included in the Green Infrastructure and Buildings (GIB) Prerequisite Indoor Water Use Reduction?

- Water Closet, Urinal, Lav Faucet, Dishwasher

- Water Closet, Urinal, Lav Faucet, Janitor sink

- Water Closet, Urinal, Lav Faucet, Showerhead

- Water Closet, Urinal, Lav Faucet, Clothes washer

- For GIB Credit Outdoor Water Use reduction

- Athletic fields must be included

- Food gardens may be included or excluded

- Permanent irrigation is not allowed

- Use sod in all landscaped areas for the baseline calculation

- Which of these is excluded from the calculations for Building Reuse?

- window assemblies, nonstructural roofing material, gypsum board

- window assemblies, nonstructural roofing material, roof decking

- window assemblies, nonstructural roofing material, hazardous materials

- window assemblies, nonstructural roofing material, framing

- A gas-fired boiler’s minimum efficiency is 80%. What must the improved efficiency be to qualify as eligible equipment installed as part of a DES system?

- 84%

- 88%

- 92%

- 96%

- In additional to postconsumer recycled content and on-site reused content, what else contributes to earning GIB Credit Recycled and Reused Infrastructure?

- Preconsumer recycled content

- New asphalt

- Soil from a Brownfield

- New concrete curbs

LEED for Neighborhood Development Power Jam Study

Quiz #4 – Green Infrastructure and Buildings (GIB)

- How many certified green buildings are required for a LEED ND project?

- All buildings must be LEED-certified

- None

- One

- One for every five buildings within the project site boundary

- Projects using GIB Prerequisite Minimum Building Energy Performance, Option 1. Whole-Building Energy Simulation must use which of these standards to calculate baseline building performance?

- ASHRAE 62.1-2010

- ASHRAE 55-2010

- ASHRARE 90.1-2010

- ASHRAE 90.1-2010, Appendix G

- Which of these fixtures are included in the Green Infrastructure and Buildings (GIB) Prerequisite Indoor Water Use Reduction?

- Water Closet, Urinal, Lav Faucet, Dishwasher

- Water Closet, Urinal, Lav Faucet, Janitor sink

- Water Closet, Urinal, Lav Faucet, Showerhead

- Water Closet, Urinal, Lav Faucet, Clothes washer

- For GIB Credit Outdoor Water Use reduction

- Athletic fields must be included

- Food gardens may be included or excluded

- Permanent irrigation is not allowed

- Use sod in all landscaped areas for the baseline calculation

- Which of these is excluded from the calculations for Building Reuse?

- window assemblies, nonstructural roofing material, gypsum board

- window assemblies, nonstructural roofing material, roof decking

- window assemblies, nonstructural roofing material, hazardous materials

- window assemblies, nonstructural roofing material, framing

- A gas-fired boiler’s minimum efficiency is 80%. What must the improved efficiency be to qualify as eligible equipment installed as part of a DES system?

- 84%

- 88%

- 92%

- 96%

- In additional to postconsumer recycled content and on-site reused content, what else contributes to earning GIB Credit Recycled and Reused Infrastructure?

- Preconsumer recycled content

- New asphalt

- Soil from a Brownfield

- New concrete curbs